## Slide 1: Gravitational Wave Astronomy
Seiji Kawamura (ICRR, UTokyo)
Hot Topics in General Relativity and Gravitation
Aug. 10, 2015
Quy Nhon, Vietnam
JGW-G1503935-v1

## Slide 2
Outline:
Gravitational wave and its detection
Current status of detectors
Summary

## Slide 3: Gravitational wave
Predicted by A. Einstein
Not yet detected
Tidal space distortion of 10-22
Propagates at the speed of light

## Slide 4: GW exists!
Taylor et al., ApJ.345(1989) p435
PSR1913+16 found by Hulse and Taylor
Period of rotation decreases by GW
Nobel prize in 1993

## Slide 5: Expected GW sources
Binary coalescence:
  Neutron star
  Black hole
Burst:
  Supernovae
Black hole ringdown:
Continuous:
  Pulsar
  Binary
Stochastic Background
  Early universe (i.e. Inflation)
  Cosmic string
Unknown

## Slide 6: Neutron star binary coalescence
time
strain amplitude
inspiral phase
merger
Black hole quasi-
normal mode

## Slide 7: Matched filter
20
10
0
-10
-20
x10
-15
18.00
17.95
17.90
17.85
20
10
0
-10
-20
x10
-15
18.00
17.95
17.90
17.85
Matched !
Signal + Noise
Lower mass
Higher mass

## Slide 8: Observation of the beginning of the Universe
380,000 year
(Recombination)
Electromagnetic wave
1 sec
(First atoms)
Neutrino
The beginning of the Universe
13.7B year
(Now)
Gravitational wave
10 -43 sec
(Planck epock）

## Slide 9: Gravitational wave detector
Laser
Interfering light
Beam splitter
Mirror
Mirror
Lens
Screen
Gravitational waves
The mirrors and beam splitter are suspended.

## Slide 10: Large-scale interferometer
Laser
Photodetector
Mirror
Mirror
Laser
Photodetector
Mirror
Mirror

## Slide 11: Detectors in the world
LIGO
LIGO
Virgo
GEO
KAGRA
LISA
DECIGO
ET
Ground-based 2nd-generation detectors
Ground-based
3rd-generation detectors
Space detectors

## Slide 12: Key Technologies for the 2nd-generation detectors
Resonant sideband extraction interferometer
Strain
Seismic noise
Frequency
Thermal Noise
Quantum noise
Typical sensitivity of the 1st generation detectors
Super-low mechanical loss in mirror coating and suspension
Super-high vibration isolation system

## Slide 13: Resonant Sideband Extraction interferometer
Fabry-Perot arm cavity:
Increase the effective arm length
-> Increase the GW signal
Power recycling mirror:
Increase the effective power
-> Improve the shot noise
Signal extraction mirror:
Extract GW signal before cancellation
-> Optimize the quantum noise
Detuned for the best NS-NS inspiral range

## Slide 14: Advanced LIGO
The following slides were provided by the LIGO project.

## Slide 15: Advanced LIGO
Advanced LIGO is a complete redesign and rebuild of the LIGO interferometers in the existing vacuum envelope
Cost: $205M (NSF) and $16M in hardware from partner agencies in Germany, UK, and Australia
  Advanced LIGO construction by led by LIGO Laboratory with participation by member groups of the LIGO Scientific Collaboration
10x more sensitive 1000x more volume probed
Three interferometer upgrade: one @ Hanford, one @ Livingston, components of one assembled and stored for installation in India late this decade
Advanced LIGO Reach
Predicted binary neutron star merger detection rates for Advanced LIGO:
in the range of one per week to one per month (but could be greater or less)
Advanced LIGO is a discovery machine: it will open the field of gravitational-wave astronomy through the direct detection of gravitational waves
Initial LIGO
Reach

## Slide 16: Advanced LIGO
Pre-stabilized Laser
Active Seismic Isolation
‘Test Mass’ Mirror
Input Optics
Output Mode Cleaner
Auxiliary Laser

## Slide 17: Advanced LIGO Commissioning Progress/Timeline to First Observing Run
Chart: Inspiral Range, Mpc
| 41791 | 41802 | 41818 | 41844 | 41850 | 41891 | 41907 | 41908 | 41970 | 41985 | 42023 | 42037 | 42060 | 42164
LLO | 0.58 | 3.68 | 5.87 | 15.8 | 20.14 | 27 | 31 | 36 | 50 | 57 | 60 | 64.2 | 67 | 70
LHO | 1 | 9 | 13 | 28 | 34 | 36 | 57 | 70
Optimistic Sensitivity
goal for O1
Conservative
goal for O1
LLO
LHO
Initial
LIGO
Improve Duty Cycle

## Slide 18: Current LIGO Livingston Sensitivity: Ready for the First Observing Run!
Preliminary
Binary Neutron Star
Inspiral Range: 62 Mpc

## Slide 19: Current LIGO Hanford Sensitivity: Ready for the First Observing Run
Preliminary
Preliminary
Binary Neutron Star
Inspiral Range: 65 Mpc

## Slide 20: LIGO Overall Status
The Advanced LIGO Construction Project: officially completed on March 31, 2015 on schedule and on budget
Interferometer Commissioning: The Advanced LIGO interferometers have already exceeded the sensitivity of the initial LIGO interferometers by more than a factor of three and are operating at sensitivities that are interesting from an astrophysical point of view
First Advanced LIGO Science Run: The LIGO Laboratory and the LIGO Scientific Collaboration are making intensive preparations for ‘Observing Run 1’ to start in Sept 2015.
LIGO-India: LIGO continues to work with institutes in India to plan the LIGO-India Project which will locate an Advanced LIGO interferometer in India; awaiting approval from Government of India

## Slide 21: Advanced Virgo
The following slides were provided by the Virgo project.

## Slide 22
Participated by scientists from Italy and France (former founders of Virgo), The Netherlands, Poland and Hungary
THE VIRGO COLLABORATION:
5 European countries
19 labs
APC Paris
ARTEMIS Nice
EGO Cascina
INFN Firenze-Urbino
INFN Genova
INFN Napoli
INFN Perugia
INFN Pisa
INFN Roma La Sapienza
INFN Roma Tor Vergata
INFN Trento-Padova
LAL Orsay – ESPCI Paris
LAPP Annecy
LKB Paris
LMA Lyon
NIKHEF Amsterdam
POLGRAW(Poland)
RADBOUD Uni. Nijmegen
RMKI Budapest
Tot.~300 scientists

## Slide 23: Ad Virgo in a nutshell
heavier mirrors
(42 kg)
high finesse
(≈1000)
larger beam waist
DC detection
signal recycling
new IP
tilt control
new payload
fused silica
suspensions
high power SSL
(200 W)
Larger central vacuum links
Large cryotraps

## Slide 24: Where we are: integration in advanced state
Commissioning of the IMC cavity
Upgrade the superattenuators,
Installation of the mirror payloads
Preparation/installation of the
suspended detection benches
Installation of the TCS
Commissioning of the
SIB2/SDB2/SPRB MSAS

## Slide 25: Payloads
Beam Splitter integrated hooked to the super attenuator (now in vacuum )
Input mirror payloads of the FP cavities
assembled and integrated in the super attenuator vacuum chamber

## Slide 26: Conclusions
We are in the middle of the integration phase
80% of project cost committed so far
Our commitment: join LIGO in O2, the 2016 science run!

## Slide 27: GEO600
The following slides were provided by the GEO project.

## Slide 28: The GEO600 Project
German-British collaboration, location Hannover / Germany
Michelson Interferometer with power- and signal-recycling (folded 600m long arms, no armcavities)
U Birmingham
U Mallorca
Glasgow

## Slide 30: GEO600, Virgo, LIGO Sensitivities
GEO600 2014
GEO600 2015
GEO600 2012
LIGO
Virgo

## Slide 31: Squeezed Light in Hannover

## Slide 32: Squeezing result so far: 3.4dB 3-times increase in observable volume! Problem in Space: Optical Losses!
Frequency [Hz]
Strain [1/sqrt(Hz)]

## Slide 33: KAGRA

## Slide 34: Location (Kamioka)
3km
3km
K A G R A
Mozumi Entrance
Shin-atotsu Entrance
Super-Kamiokande
CLIO
◎Tokyo
Kamioka◎
Toyama airport
40min.
by car

## Slide 35
Key features of KAGRA
Underground
Cryogenic Mirror
Technologies crucial for the 3rd-generation detectors;
KAGRA can be regarded as a 2.5-generation detector.

## Slide 36: Two technologies + one
Underground Cryogenic Mirror Resonant Sideband
Extraction
Strain
Seismic noise
Frequency
Thermal Noise
Quantum noise
Typical sensitivity of the 1st generation detectors

## Slide 37: Ground motion in Kamioka mine
Kashiwa
Kamioka

## Slide 38: Vibration isolation system
2nd floor
Inverted pendulum
Geometrical antispring
(GAS) filter
Multi-stage pendulum
(with GAS filter)
1st floor
Another pendulum
(with GAS filter)
Mirror suspension
Two-layer structure to avoid the resonances of the tall structure.
GAS filter

## Slide 39: Cryogenic system
Platform (14 K)
Upper mass (15 K)
Mirror (20 K)
Cryocooler
Cryocooler
Inner shield (8 K)
Outer shield (80 K)
Heat link
Cryocooler
Beam tube shield
Main beam

## Slide 40: Sapphire Mirror
Φ220mm, t 150mm, c-axis

## Slide 41: Ultimate Sensitivity Limit of KAGRA
Beating the standard quantum limit
Duty factor: > 80%

## Slide 42: Expected event rate for NS-NS coalescence
Inspiral range: 176 Mpc
(the same definition as LIGO/Virgo)
Assuming Inspiral rate per galaxy: 100 Myr-1
Expected event rate: 10 yr-1

## Slide 43: Other GW sources
BH-BH coalescence: e.g. 20 M at 2 Gpc, 0.41000 events per year
Quasi-normal mode of BH: e.g. 100300 M at 3 Gpc
Supernova: Hopefully 1 Mpc, 1 event per 30 years
Pulsar: Crab and Vela, possibly other invisible pulsars
Beginning of the Universe: non-standard model
Unknown: Nature likes to surprise us.

## Slide 44: Shin-Atotsu entrance (2015.3.10)

## Slide 45: Central area (2015.6.17)

## Slide 46: Cryostat and shaft (2015.6.17)

## Slide 47: Slope to the 2nd floor (2015.6.17)

## Slide 48: 2nd floor (2015.6.17)

## Slide 49: Pre-stabilized laser (2015.3.10)

## Slide 50: Vacuum chamber for beam splitter (2015.6.17)

## Slide 51: Beam tubes (2015.6.17)

## Slide 52: Control room in KAGRA research building (2015.6.17)

## Slide 53: Cryogenic suspension
22cm
Sapphire mirror
Sapphire fiber
Sapphire nail head
Indium Bonding
Hydroxide Catalysis
Bonding
Sapphire spring
Sapphire nail head
[Requirements]
Strength
Heat conductivity
Mechanical loss
The component test showed the current design is OK. We plan to do the prototype test.
In collaboration with ET

## Slide 54: Schedule of KAGRA
 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
Calendar year
Project start
Tunnel excavation
initial-KAGRA
baseline-KAGRA
Observation
iKAGRA obs.
Adv. Optics system and tests
Cryogenic system
iKAGRA
Michelson interferometer
Room temperature
Simple seismic isolation system
bKAGRA
Resonant sideband extraction
Cryogenic temperature
Advanced seismic isolation system

## Slide 55: KAGRA in network
L/H+L/L+V 50%
L/H+L/L+V+LCGT
50%
B. F. Schutz
LIGO(H)+LIGO(L)+Virgo
Coverage at 0.5 M.S.: 72%
3 detector duty factor: 51%
LIGO(H)+LIGO(L)+Virgo+KAGRA
Max sensitivity (M.S.): +13%
Coverage at 0.5 M.S.: 100%
3 detector duty factor: 82%

## Slide 56: ET
The following slides were provided by the ET project.

## Slide 57: Einstein Telescope (ET) Project
The ET project born in 2008 thanks to the support of the Europen Commission who funded its design study with a 3 years grant
It is based on the assumption that the upgrade of the 2nd generation (or advanced) interferometers after the detection of GW will be limited by the research infrastructure hosting the detector
For this reason the ET project focused mainly on the design of the infrastructure rather than on the technologies for future (3G) observatories

## Slide 58: The ET infrastructure
A triangular, 10 km each side, underground infrastructure has been drafted
The triangular shape allows to host up to three detectors, each composed up to two interferometers, each specialised in a frequency range (Xylophone design)
In this configuration, ET will be able to fully reconstruct the polarisation of the GW signal (through virtual interferometry), will produce a null stream (for false allarm suppression) and will show an high redundancy level

## Slide 59: Sites investigation
ET site still undecided, but a few sites in Europe have been found compliant with the requirements during a first investigation campaign

## Slide 60: ET technologies
The ET design study focused on the “research infrastructure”, designing an observatory able to host the evolution of the GW detectors in the next decades
Nevertheless, a (brute force) attempt to describe the ET technologies has been performed
Low frequency interferometer ET-LF:
  Long suspension chains of seismic filters (“à la Virgo”)
  Cryogenic and massive payloads
  Silicon mirrors (~200kg) and new 1.55mm wavelength laser
  Frequency dependent squeezing
High Frequency interferometer ET-HF
  High power 1064nm wavelength laser
  High mass (~200kg) fused silica test masses
  Low absorption coatings
  Advanced thermal correction of the aberrations
  Frequency dependent squeezing

## Slide 61
2020
2012
2013
2014
2015
2016
2017
2018
2019
2021
2022
2023
2024
2025
R&D
Technical design
Site preparation
2026
2027
2028
First detection on advanced interferometers
2029
ET Conceptual design
ET Observatory Funding
ET Site and infrastructures realisation
ET possible Roadmap

## Slide 62: LISA
The following slides were provided by the LISA project.

## Slide 63: LISA: An Observatory for Gravitational Waves in Space
3 Satellites
Million km arms
50 Million km behind Earth

## Slide 64: Black Hole Astronomy by 2030
Redshift Z 
Mass [log M/M☉]
Future EM Obs.
LSST, JWST, EELT
eLISA
SNR
E. Berti

## Slide 65: All Binary Black Holes cross eLISA band: Trace Galaxy Mergers

## Slide 66: LISA Layout
Laser transponder with 6 links, all transmitted to ground
Diffraction widens the laser beams to many kilometers
  1 W sent, 100 pW received by 40 cm Cassegrain
Michelson with 3rd arm and Sagnac mode
Can distinguish both polarizations of a GW
Can form Null combination!
main transponded
laser beams
reference
laser beams

## Slide 67: LISA Pathfinder
Testing LISA technology in space!

## Slide 68: One LISA Arm: Few Million kms – two test masses
Test-mass
Test-mass
Laser link

## Slide 69: Spacecraft is completed!
Next step is acoustic test, functional checkout
Ready for shipping to launch site in August 2015

## Slide 70: Ready and Waiting!
Launch window opens November 15th, 2015!

## Slide 71: Roadmap for LISA
Launch LISA Pathfinder in 2015
Coordination of international partners
  Technology development until 2019
Mission concept selection 2020
  Payload EQM 2020 – 2024
  Start industrial implementation 2025
Launch 2034

## Slide 72: DECIGO

## Slide 73: What is DECIGO?
Deci-hertz Interferometer Gravitational Wave Observatory
Bridges the gap between LISA and ground-based detectors
Low confusion noise -> Extremely high sensitivity
10-18
10-24
10-22
10-20
10-4
104
102
100
10-2
Frequency [Hz]
Strain [Hz-1/2]
LISA
DECIGO
Ground-based detectors
Confusion Noise
moved above
LISA band
To be moved
into GBD band

## Slide 74: Pre-conceptual design
Differential FP interferometer
Arm length: 1000 km
Mirror diameter: 1 m
Laser wavelength：0.532 m
Finesse: 10
Laser power: 10 W
Mirror mass: 100 kg
S/C: drag free
3 interferometers
Laser
Photo-
detector
Arm cavity
Drag-free S/C
Arm cavity
Mirror

## Slide 75: Orbit and constellation (preliminary)
Sun
Earth
Record disk
Increase angular resolution
Correlation for stochastic background

## Slide 76: Science by DECIGO
Formation of super-massive BH
Verification of inflation
Frequency [Hz]
Correlation
(3 years)
Strain [Hz-1/2]
10-3 10-2 10-1 1 10 102 103
10-19
10-20
10-21
10-22
10-23
10-24
10-25
10-26
(1000 M◎ z=1)
BH binary
Coalescence
5 years
NS binary (z=1)
Coalescence
3 months
Acceleration of Universe

Dark energy
Radiation pressure noise
Shot noise
1 cluster
Mini-black hole

Dark matter
Brans Dicke
parameter
Inflation
(GW~2×10-16)

## Slide 77: Summary
Gravitational waves could be detected by ground-based 2nd-generation detectors within a couple of years. Then gravitational wave astronomy will be established.
In the future gravitational wave astronomy will be further extended by ground-based 3rd-generation detectors and space antennas.